## Sheet1
Model | Ref | Version (SE=NP / SA=P) | Autonomy | Battery | W* (Indicative power for comparison with fluorescent tube fixtures) | Power Comp. Max W | lm SE | lm SA | cc 400 | REST MODE | IP | IK | Test button | TR (self contained battery emergency lamps, including a simple battery check function) | AT (AutoTest) self contained battery emergency lamps, with complete self- diagnosys, periodic function and duration tests and local report of the status on color indicators; all lamps are configurable to work in maintained, non maintained or switched-maintained modes | CT (Central Test) self contained battery emergency lamps; basically AT lamps that can be remotely monitored via: Power bus (Cablecom) Wired bus (LG models); Wireless radio links (LGFM models) | Warranty | Dimensions | Picto (availble separately)
Eurocompleta | B4113 | SE/SA | 1/3h | Li-Fe | 11W | 2,5W | 120/40 | 120 | - | X | IP42 | IK08 | X | X | - | - | 5 | 300x138x55 | X
Eurocompleta | B4114 | SE/SA | 1/3h | Li-Fe | 24W | 4W | 350/70 | 200 | - | X | IP42 | IK08 | X | X | - | - | 5 | 300x138x55 | X
Eurocompleta | B4115 | SE/SA | 1/3h | Li-Fe | 11W | 2,5W | 120/40 | 120 | - | X | IP65 | IK08 | X | X | - | - | 5 | 300x138x55 | X
Eurocompleta | B4116 | SE/SA | 1/3h | Li-Fe | 24W | 4W | 350/70 | 200 | - | X | IP65 | IK08 | X | X | - | - | 5 | 300x138x55 | X
Pratica IP65 | B250ATSE | SE | 1/1,5/2/3/8h | Li-Fe | 24W | 2,6W | 300/300/250/160/70 | - | - | X | IP65 | IK08 | - | - | X | - | 5 | 300x138x55 | -
Pratica IP65 | B250ATSA | SE/SA | 1/1,5/2/3/8h | Li-Fe | 24W | 4,8W | 300/300/250/160/70 | 200 | - | X | IP65 | IK08 | - | - | X | - | 5 | 300x138x55 | X
Infinita RTI | B19450 | SE | 1/1,5/2/3/8h | LTO | 24W | 1,9W | 250/170/130/90/40 | - | - | X | IP65 | IK07 | - | - | - | X (Cablecom) | 10 | 325x130x45 | -
Infinita RTI | B19451 | SE | 1/1,5/2/3/8h | LTO | 24WGL | 1,9W | 500/340/260/180/70 | - | - | X | IP65 | IK07 | - | - | - | X (Cablecom) | 10 | 325x130x45 | -
Infinita RTI | B19452 | SE/SA | 1/1,5/2/3/8h | LTO | 24W | 3,9W | 250/170/130/90/40 | 250 | - | X | IP65 | IK07 | - | - | - | X (Cablecom) | 10 | 325x130x45 | X
Infinita RTI | B19453 | SE/SA | 1/1,5/2/3/8h | LTO | 24WGL | 3,9W | 500/340/260/180/70 | 250 | - | X | IP65 | IK07 | - | - | - | X (Cablecom) | 10 | 325x130x45 | X
Aestetica | B16221 | SE | 1h | Ni-Mh | 8W | 0,8W | 120 | - | - | - | IP40 | IK05 | - | X | - | - | 2 | 292x102x34,6 | -
Aestetica | B16222 | SE | 1h | Ni-Mh | 11W | 0,8W | 140 | - | - | - | IP40 | IK05 | - | X | - | - | 2 | 292x102x34,6 | -
Aestetica | B16223 | SE/SA | 1h | Ni-Mh | 11W | 0,8W | 140 | 90 | - | - | IP40 | IK05 | - | X | - | - | 2 | 292x102x34,6 | -
Aestetica | B16224 | SE | 1h | Ni-Mh | 24W | 0,8W | 225 | - | - | - | IP40 | IK05 | - | X | - | - | 2 | 292x102x34,6 | -
Pratice Modula Easy | B18500 | SE/SA | 1/3h | Li-Fe | 11W | 2W | 100/40 | 250 | - | - | IP42 | IK07 | - | X | - | - | 5 | 265x119x39 | -
Pratice Modula Easy | B18510 | SE/SA | 1/3h | Li-Fe | 11W | 2W | 100/40 | 250 | - | - | IP65 | IK07 | - | X | - | - | 5 | 265x119x50 | -
Pratice Modula Easy | B18501 | SE/SA | 1/3h | Li-Fe | 24W | 2W | 200/80 | 250 | - | - | IP42 | IK07 | - | X | - | - | 5 | 265x119x39 | -
Pratice Modula Easy | B18511 | SE/SA | 1/3h | Li-Fe | 24W | 2W | 200/80 | 250 | - | - | IP65 | IK07 | - | X | - | - | 5 | 265x119x50 | -
STILE | B19502 | SE/SA | 1/3h | Li-Fe | 11W | 0,8W | 120/50 | 110 | - | X | IP42 | IK05 | - | X | - | - | 5 | 280X119X46 | -
STILE | B19503 | SE/SA | 1,5/3h | Li-Fe | 18W | 0,8W | 250/150 | 110 | - | X | IP42 | IK05 | - | X | - | - | 5 | 280X119X46 | -
Multi Lens | B4330 | SE | 1h | Li-Fe | 24W | 1,0W | 250 | - | - | X | IP42 | IK07 | - | X | - |  | 2 | ø90 (ø60)x40 | -
Formula 65 LED | BR0818 | SE | 1/1,5/2/3/8h | Li-Fe | 11W | 1,9W | 180/130/100/70/30 | - | - | X | IP65 | IK07 | - | - | X | - | 4 | 354x152x48,5 | -
Formula 65 LED | BR1124 | SE | 1/1,5/2/3/8h | Li-Fe | 24W | 1,9W | 450/300/230/160/70 | - | - | X | IP65 | IK07 | - | - | X | - | 4 | 354x152x48,5 | -
Formula 65 LED | BR1124SA | SE/SA | 1/1,5/2/3/8h | Li-Fe | 24W | 4W | 450/300/230/160/70 | 250 | - | X | IP65 | IK07 | - | - | X | - | 4 | 354x152x48,5 | X
Formula 65 LED | BR2436 | SE | 1/1,5/2/3/8h | Li-Fe | 36W | 1,9W | 700/450/350/240/100 | - | - | X | IP65 | IK07 | - | - | X | - | 4 | 354x152x48,5 | X
Formula 65 LED | BR2436SA | SE/SA | 1/1,5/2/3/8h | Li-Fe | 36W | 4W | 700/450/350/240/100 | 250 | - | X | IP65 | IK07 | - | - | X | - | 4 | 354x152x48,5 | X
LUNGALARGALUCE | B19321 | SE | 1h | Ni-Cd | 24W | 1W | 250 | - | - | - | IP42 | IK07 | - | - | X | - | 4 | 137x137 | -
LUNGALARGALUCE | B19331 | SE | 1h | Ni-Cd | 24W | 1W | 250 | - | - | - | IP42 | IK07 | - | - | X | - | 4 | ø120 (ø80)x28 | -
Exit(20m) | B4320 | SA | 1/2/3h | LI-Fe | - | 3W | - | - | - | X | IP40 | IK05 | - | X | - | - | 2 | 299x155x30 | X
Exit(30m) | B4321 | SA | 1/2/3h | LI-Fe | - | 3W | - | - | - | X | IP40 | IK05 | - | X | - | - | 2 | 314x195x30 | X
AESTETICA | B12512 | SE | 1h | Ni-Cd | 8W fluo | - | 70 | - | - | - | IP40 | - | X | X | - | - | 2 | 336,4x134x46,8 | -
AESTETICA | B12504 | SA | 1h | Ni-Cd | 8W fluo | - | 70 | 70 | - | - | IP40 | - | X | X | - | - | 2 | 336,4x134x46,8 | X